## Slide 1: Licensing and Permitting Requirements for Renewable Energy
Krenar Bujupi
Board Member
14 May 2013

## Slide 2: Overview
Institutional Responsibilities for RES targets and feed-in
GoK - Renewable Energy Targets – MED Admin. Instr. 01/2013
ERO – Feed – in Tariffs for RES – ERO Decision V_359_2011
Rule on Authorization Procedure for construction of new Generation Capacities
ERO’s Authorization Process
Current overview on applications for construction of RES

## Slide 3: Institutional Responsibilities for RES
Law on Energy Article 13/1 determines:
  that The Ministry shall establish annual and long-term renewable energy targets for the consumption of electricity or heat generated from renewable energy sources or cogeneration
Law on Electricity, Article 9/6 determines:
  that The Energy Regulatory Office shall set up a methodology for establishing regulated tariffs payable by the public supplier for electricity from renewable energy sources, as provided in the Law on the Energy Regulatory Office...”

## Slide 4: Renewable Energy Targets
RES (MW) | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
HPP | 0.00 | 60.00 | 140.00 | 150.00 | 160.00 | 180.00 | 200.00 | 240.00
Wind | 1.35 | 31.35 | 70.00 | 90.00 | 110.00 | 130.00 | 140.00 | 150.00
Photovol | 0.00 | 3.00 | 4.00 | 6.00 | 7.00 | 8.00 | 9.00 | 10.00
Biomas solid | 0.00 | 2.00 | 4.00 | 6.00 | 8.00 | 10.00 | 12.00 | 14.00
HPP existing | 46.21 | 46.21 | 46.21 | 46.21 | 46.21 | 46.21 | 46.21 | 46.21
HPP Zhur |  |  |  |  | 305.00 | 305.00 | 305.00 | 305.00
Total (MW) | 47.56 | 142.56 | 264.21 | 298.21 | 636.21 | 679.21 | 712.21 | 765.21
MED Administrative Instruction 01/2013

## Slide 5: Feed-in Tariffs for RES
ERO’s Board Decision V_359_2011
  Renewable Energy Sources: (€/MWh)
  HPP (<10MW) 63.3
  Wind 85.0
  Biogas and Biomass 71.3
  Photovoltaic Methodology in the process

## Slide 6: Rule on Authorization Procedure
The Law on the Energy Regulator (Article 38) says “the construction of new generating capacity…shall be undertaken in line with authorization procedures”.
  In line with EU Directive 2003/54 on authorizing new generating capacity.
Rule on authorization procedure for construction of new generation capacities is available on our web page: www.ero-ks.org

## Slide 7: Rule on Authorization Procedure – A.3

## Slide 8: Rule on Authorization Procedure – A.3

## Slide 9: ERO’s Authorization Process

## Slide 10: Current overview of Applications
Complete and updated register of applications is available to public on our web page
  3 Authorizations issued
    Installed capacity of approx. 26 MW
    1 HPP – approx. 23.1 MW
    2 Wind – approx. 2.25 MW
  19 Applications in the Authorization process
    Planned installed capacity of approx. 251.7 MW
    16 HPP – approx. 170.7 MW
    3 Wind – approx. 81 MW
  8 Preliminary Authorizations issued
    Planned installed capacity of approx. 138.28 MW
    7 HPP – approx. 108.28 MW
    1 Wind – approx. 30 MW

## Slide 11: Thank YOU
Krenar Bujupi
ERO Board Member
Rr. Dervish Rozhaja Nr. 12 Prishtinë, Kosovë 10000
(T) + 381 (38) 247 615
krenar.bujupi@ero-ks.org
www.ero-ks.org